## shapefilelist
City Name | Shapefile Name | Geometry Type | Should we use this?
Benguela | January 2024 Benguela Expansion MT | LineString
Benguela | Benguela Planned Network Expansion PTs | Point
Benguela | January 2024 Benguela Expansion Rehabilition PT Rehabilitate | Point
Benguela | January 2024 Benguela Expansion Rehabilitation Removal | Polygon
Benguela | January 2024 Benguela Expansion Rehabilition MT Lines Expansion | Unknown
Benguela | January 2024 Benguela Expansion Rehabilitation Rehabilitation MT Benguela | LineString
Benguela | Benguela Network Planned Expansion MT11 | LineString
Benguela | January 2024 Benguela Expansion Rehabilition PT Expansion | Point
Benguela | LD_30_kV_BAIA_CENTRO-point | Point
Benguela | BOCOIO-point | Point
Benguela | LD_30_kV_CAVACO_1-point | Point
Benguela | LD_30_kV_BAIA_NORTE-point | Point
Benguela | TUBOS-point | Point
Benguela | APOIO-point | Point
Benguela | GANDA-point | Point
Benguela | BOCOIO-line | LineString
Benguela | PT-point | Point
Benguela | LD_30_kV_CALOMANGA-point | Point
Benguela | LD_30_kV_INDUSTRIAS_2-point | Point
Benguela | CUBAL-point | Point
Benguela | TUBO-polygon | Polygon
Benguela | GANDA-line | LineString
Benguela | MT-line | LineString
Benguela | CUBAL-line | LineString
Benguela | LD_30_kV_LUONGO-point | Point
Benguela | LD_30_kV_INDUSTRIAS_1-point | Point
Benguela | LD_30_kV_ESTADIO_1-point | Point
Benguela | TUBOS-polygon | Polygon
Benguela | Subestacao-point | Point
Benguela | Line MT Existing | Point
Benguela | MT11 | LineString
Benguela | PT | Point
Lubango | PTs | Point
Lubango | Planned Network January 3,2024 (lines) | LineString
Lubango | Planned Network January 3,2024 (points) | Point
Lubango | PTs | Point
Lubango | MT Line and Derivations | LineString
Lubango | Central Generating Substations | Point
Luanda | Opening (#3) | Point
Luanda | Lines (#12) | Unknown
Luanda | Exit 1 | LineString
Luanda | PT¬¥s Mulenvos | Unknown
Luanda | PRINCIPAL (#3) | LineString
Luanda | Area (#2) | LineString
Luanda | Principal 2 | LineString
Luanda | District URBANO DE CABOLOMBO ok mt | Point
Luanda | District da Sapu ok mt | Point
Luanda | SE VIDA PACIÃÅFICA | Point
Luanda | SE ZANGO II (#2) | LineString
Luanda | Transition(#3) | LineString
Luanda | Principal Line (#2) | LineString
Luanda | Derivada | LineString
Luanda | SE MUNDIAL | Point
Luanda | Secondary(#5) | Unknown
Luanda | SE MOÃÅVEL CAZENGA | Unknown
Luanda | SE MOÃÅVEL KIKUXI | Unknown
Luanda | SE CACUACO VILA | Point
Luanda | SecundaÃÅrias | LineString
Luanda | PRINCIPAL (#17) | LineString
Luanda | AB (#3) | Point
Luanda | VIANA | Unknown
Luanda | Principal (#16) | LineString
Luanda | DrivacÃßaÃÉo | LineString
Luanda | Linhas | Unknown
Luanda | Derivation | Unknown
Luanda | SE B. MONTE | Point
Luanda | Exit PREFAL | Unknown
Luanda | District URBANO DO BENFICA ok mt | Point
Luanda | TransicÃßoÃÉes | LineString
Luanda | Deriv | LineString
Luanda | SE ZEE I | Unknown
Luanda | Secondary(#4) | LineString
Luanda | Transition(#2) | LineString
Luanda | SE FILDA | Point
Luanda | SE CAPOLO | Point
Luanda | Principal (#2) 2 | LineString
Luanda | District RANGEL | Point
Luanda | Openings (#6) | Point
Luanda | Cabo | LineString
Luanda | SE ZEE II | Unknown
Luanda | PTs | Point
Luanda | SE CAOP | Point
Luanda | Secondary(#8) | LineString
Luanda | Transformation Stations | Unknown
Luanda | Secondary Lines (#2) | LineString
Luanda | Principal (#2) | LineString
Luanda | LinesMT VIANA | Unknown
Luanda | Opening (#2) | Point
Luanda | Layer1 | LineString
Luanda | Exit Mulenvos SE CAOPE | LineString
Luanda | Transition(#5) | LineString
Luanda | Principal (#9) | LineString
Luanda | Principal | LineString
Luanda | MT Underground Connection Points | LineString
Luanda | Secondary(#3) | LineString
Luanda | District SEQUELE | Point
Luanda | Exit GEOTEÃÅCNICA | Unknown
Luanda | Principal (#11) | LineString
Luanda | Principal Lines (#2) | LineString
Luanda | SE Sequela | Point
Luanda | If 28 August | Unknown
Luanda | District URBANO DO MORRO DOS VEADOS ok mt | Point
Luanda | Feeders | LineString
Luanda | Principal (#5) | LineString
Luanda | SE KIKUXI | Point
Luanda | Secondary Line | LineString
Luanda | Connection Extensions | LineString
Luanda | SE CAMAMA RNT | Unknown
Luanda | SE MOÃÅVEL DA COCACOLA | Point
Luanda | Subterranean | LineString
Luanda | CT MUXIMA | Unknown
Luanda | Center of Distribution Viana.kmz | Unknown
Luanda | Principal (#6) 2 | Unknown
Luanda | District DO KIKUXI | Point
Luanda | District CAZENGA POPULAR | Point
Luanda | L_15kV | LineString
Luanda | MT Aereo Connection Points | Unknown
Luanda | Principal (#4) 2 | LineString
Luanda | Transition(#8) | LineString
Luanda | SE KIFICA 60_15kV | Point
Luanda | SE MULENVOS | Point
Luanda | District TALA HADY | Point
Luanda | Principal (#4) | LineString
Luanda | Principal Line | LineString
Luanda | Principal (#8) 2 | LineString
Luanda | Openings | Point
Luanda | AB | Point
Luanda | Subterranean Line | LineString
Luanda | SE BELAS | Point
Luanda | Principal Lines | LineString
Luanda | Principal (#10) | LineString
Luanda | Lines MT KILAMBA KIAXI | Unknown
Luanda | SE BENFICA | Unknown
Luanda | SE SAPUÃÅ | Point
Luanda | Morro da Luz | LineString
Luanda | LinesMT | Unknown
Luanda | Secondary(#2) | LineString
Luanda | Principal (#8) | LineString
Luanda | Transition(#4) | LineString
Luanda | AeÃÅrea | LineString
Luanda | District URBANO DO GOLF ok mt | Point
Luanda | Principal (#13) | Unknown
Luanda | Funda Commune | Point
Luanda | Openings___ | Point
Luanda | District URBANO DA CAMAMA ok mt | Point
Luanda | Center Kilamba Kiaxi ok mt | Unknown
Luanda | Isolated Area | LineString
Luanda | Transition(#7) | LineString
Luanda | Condutor Nu | Unknown
Luanda | Transition | Unknown
Luanda | SE QUARTEIS | Point
Luanda | Line | Unknown
Luanda | District MULENVOS DE BAIXO | Point
Luanda | New PT Connection Extensions | Unknown
Luanda | Openings (#3) | Point
Luanda | District URBANO DE VILA VERDE | Point
Luanda | Center Ngola Kiluange ok mt | Unknown
Luanda | SE KIFANGONDO | Point
Luanda | Principal (#7) | LineString
Luanda | District DO ZANGO | Point
Luanda | Principal (#6) | Unknown
Luanda | Openings (#2) | Unknown
Luanda | Principal (#3) 2 | LineString
Luanda | Derivative (#2) | Unknown
Luanda | SE ENCIB CAMAMA | Point
Luanda | Ingombota Distribution Center | Unknown
Luanda | SE TALATONA | Point
Luanda | Transition(#6) | LineString
Luanda | District KIMAKIEZA | Point
Luanda | SiÃÅda CEFOPESCA | Unknown
Luanda | Derivadas | LineString
Luanda | SE GOLFE | Unknown
Luanda | District MAIANGA | Point
Luanda | Principal (#12) | LineString
Luanda | Connection Points | Unknown
Luanda | Center of Distribution Viana ok mt | Unknown
Luanda | SE CUCA | Unknown
Luanda | Opening | Point
Luanda | SE TEXTANG II | Point
Luanda | SE ESTRADA DE CATETE | Point
Luanda | Principal (#7) 2 | LineString
Luanda | Secundaria | LineString
Luanda | Openings (#5) | Unknown
Luanda | District URBANO DO LAR PATRIOTA ok mt | Unknown
Luanda | District VILA SEDE | Unknown
Luanda | Lines (#10) | LineString
Luanda | Secondary Lines | LineString
Luanda | Principal (#15) | LineString
Luanda | Exit Cacuaco Vila | Unknown
Luanda | Extensions MT Viana | LineString
Luanda | SaÃÅida CONOCO | Unknown
Luanda | Secondary(#7) | LineString
Luanda | SiÃÅda Paraiso | Unknown
Luanda | District INGOMBOTA | Point
Luanda | SE ZANGO II | Point
Luanda | Derivation (#3) | Unknown
Luanda | Building CHIANAG | Unknown
Luanda | Exit ECOCAMPO | Unknown
Luanda | LinesMT CD Ingombota | Unknown
Luanda | Derivation (#2) | LineString
Luanda | Secondary(#6) | LineString
Luanda | Derivative | LineString
Luanda | SecundaÃÅrias (#2) | LineString
Luanda | Planned | Unknown
Luanda | SE NGOLA KILUANJI | Point
Luanda | District CACUACO | Point
Luanda | Principal (#14) | LineString
Luanda | SE PEDREIRA | Point
Luanda | District DO BAIA | Point
Luanda | SE ZANGO I | Point
Luanda | SecundaÃÅria | Unknown
Luanda | Lines (#11) | Unknown
Luanda | SE Z. VERDE | Unknown
Luanda | Principal (#5) 2 | LineString
Luanda | SE VIANA RNT | Point
Luanda | Changed_ | Unknown
Luanda | Subterranean 2 | LineString
Luanda | Openings (#4) | Point
Luanda | District DA ESTALAGEM | Point
Luanda | Derivada (#2) | LineString
Luanda | District URBANO DA C. UNIVERSITARIA ok mt | Point
Luanda | Line 30kV Batch 1 | LineString
Luanda | PT Expansion Batch 1 | Point
Luanda | Batch 1 | Polygon
Luanda | Line 15kV Batch 1 | LineString
Luanda | Rehabilitation 15 kV Batch 1 | LineString
Luanda | PT Rehabilitation Batch 1 | Point
Luanda | Batch 3 | Polygon
Luanda | PT Expansion | Point
Luanda | Line 15k V Batch 3 | LineString
Luanda | Rehabilitation 15kV Batch 3 | LineString
Luanda | PT REB Batch 3 | Point
Luanda | Line 30kV Batch 2 | LineString
Luanda | Batch 2 | Polygon
Luanda | Rehabilitation 30 kV Batch 2 | LineString
Luanda | Viana Rehabilitation 1n | Point
Luanda | Line 15kV Batch 2 | LineString
Luanda | Batch 2 PT | Point
Luanda | Rehabilitation 15 kV Batch 2 | LineString
Huambo | Huambo L 15kV Underground Exists | LineString
Huambo | Huambo L 30kV Aerial Exists | LineString
Huambo | Huambo Derivation | Point
Huambo | Huambo L 15kV LA_110 (planned) | LineString
Huambo | Huambo L 15kV LA_160 (planned) | LineString
Huambo | Huambo Line 30kV LA 160 | LineString
Huambo | Huambo 90 PTs | Point
Huambo | Huambo L 15kV Aerial Exists | Unknown
Huambo | Huambo Start and End of line | Point
Huambo | Huambo SE Existing | Point
Huambo | Huambo Line 30kV LA 110 | LineString